Asbestos Management – Schools

In November 2018, Norfolk Audit Services carried out a thematic audit on asbestos management. A sample of 14 maintained schools were visited.

The specific objectives of the audit were: -

- To provide assurance that schools are managing asbestos within their School buildings, in accordance with the County Council’s Asbestos Control and Management Compliance Code.

- To provide assurance that the people involved with managing asbestos are aware of their roles and responsibilities and have undertaken appropriate training.

Our audit findings

The visits highlighted that all of the Schools visited had measures in place to ensure contractors are made aware of the location of asbestos containing materials (ACMs) within their premises, with contractors signing the asbestos register as evidence of this prior to commencing work at the School.

The majority of schools were aware of where asbestos is in their School and what their roles and responsibilities are regarding asbestos management. For schools that were unaware, either the Headteacher was absent through long term sickness, a new Headteacher was recently in post, or further clarification was needed to confirm if asbestos was actually present and needed to be managed.

The following findings are an overall summary of the areas that need strengthening, and are not representative of every School visited: -

- Headteachers and School staff at three Schools were unaware of their specific roles, responsibilities and the guidance that should be followed in relation to asbestos management.

- At a few Schools appropriate training has not been carried out by all Headteachers and School staff. They were unable to confirm what training in relation to asbestos management had been carried out.

- Employees at some of the Schools were not made aware of the risks of asbestos and the procedures to follow during induction and general health and safety training.

- One School was unable to produce details of the most recent asbestos survey carried out by Norfolk Property Services (NPS) or the letter from NPS confirming that they will no longer have an annual survey carried out due to having low risk asbestos.

- Local asbestos management plans were not in place at two Schools and where they were in place the Norfolk County Council template, or the most up to date version of the template was not used at three Schools.

- The majority of Schools were unaware of how long asbestos related documents needed to be retained.

Recommendations

We recommend the above issues are considered by your School’s Leadership Team, together with any proposed actions for improvements you need to make in relation to your School. Any issues and proposed actions should be presented to the relevant Governing Body Committee for approval and monitoring.

Further information and guidance regarding asbestos management can be found in the ‘Asbestos Control and Management Compliance Code P602’ on HR InfoSpace or by contacting the NCC Health, Safety and Well-being Team at:

healthandsafety@norfolk.gov.uk (01603) 223989